## rack
Rack Top	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24
Siemon	usa fata						sonerie fata				curte fata relay+meter												meter beci
					beci mare alarm
Brown	unused										pumps
BrownW	unused										pumps
Green	door contact										pumps
GreenW	door contact										pumps
Orange	5V+ Power Meter						sonerie				5V+ Water meter												Hot water meter return
OrangeW	Power Meter 1 return						sonerie				Water meter return												5V+ hot water meter
Blue	Power Meter 2 return						portita				pumps												5V+ cold water meter
BlueW	Power Meter 3 return						portita				pumps												Cold water meter return

Rack Mid																beci hol power meter					birou alarm
Cat.5e
																							hol intrare nisa net
Brown		5V+ meter gaz
BrownW		gaz meter return
Green
GreenW
Orange
OrangeW
Blue																5V+ power meter
BlueW																power meter return

Rack Bottom
molex 10G
					dormitor tudor 1W							Shorted 12 45
Brown
BrownW
Green
GreenW
Orange
OrangeW
Blue
BlueW

## sensors
				counter A	counter B		utility A	utility B
power main 1	A80000000F86B81D	/1D.B8860F000000	SC1	yellowbaterry	broken	Power 1			power main 3
water main	BE0000000F870C1D	/1D.0C870F000000	SC3	bandaneagra	broken	apa main (water main)
power main 2	EF0000000F97CA1D	/1D.CA970F000000	SC2	3544 battery	Power 2	Power 3		power main 1	power main 2
water beci	AB0000000F60491D	/1D.49600F000000	SH1	Hobbyboards	apa rece (water house)	apa calda (water hot)
utility beci	1C0000000F99851D	/1D.85990F000000	SC4	2 red plates	power beci	gaz
power rack	F90000000FFEAB1D	/1D.ABFE0F000000	SE1	eds	power rack	unavailable

## gpio
Pi-face
					color code RJ45
					PLUG box	UTP
					white	brown
					brown	Brown-white
				4	OUT	dormitor heat					yellow	green
					green	Blue-white
					18	OUT	bucatarie heat			red	blue
				27	OUT	gas heat					black	Green-white
				22	OUT	puffer heat	23	OUT	living heat			orange	orange
					24	OUT	birou			blue	Orange-white

					1	IN	portita contact
				13	OUT	puffer valve heat

## piface card
port IN
0	beci mare	PIR
1	bucatarie	PIR
2	living	PIR
3	beci mic	PIR
4	birou	PIR
5	scari beci	PIR
6	etaj hol	PIR
7	sonerie	CONTACT