## rack
Rack Top	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20	21	22	23	24
Siemon	usa fata						sonerie fata				curte fata relay+meter												meter beci
					beci mare alarm
Brown	unused										pumps
BrownW	unused										pumps
Green	door contact										pumps
GreenW	door contact										pumps
Orange	5V+ Power Meter						sonerie				5V+ Water meter												Hot water meter return
OrangeW	Power Meter 1 return						sonerie				Water meter return												5V+ hot water meter
Blue	Power Meter 2 return						portita				pumps												5V+ cold water meter
BlueW	Power Meter 3 return						portita				pumps												Cold water meter return

Rack Mid																beci hol power meter					birou alarm
Cat.5e
																							hol intrare nisa net
Brown		5V+ meter gaz
BrownW		gaz meter return
Green
GreenW
Orange
OrangeW
Blue																5V+ power meter
BlueW																power meter return

Rack Bottom
molex 10G
					dormitor tudor 1W							Shorted 12 45
Brown
BrownW
Green
GreenW
Orange
OrangeW
Blue
BlueW

## sensors
				counter A	counter B		utility A	utility B
power main 1	A80000000F86B81D	/1D.B8860F000000	SC1	yellowbaterry	broken	Power 1			power main 3
water main	BE0000000F870C1D	/1D.0C870F000000	SC3	bandaneagra	broken	apa main (water main)
power main 2	EF0000000F97CA1D	/1D.CA970F000000	SC2	3544 battery	Power 2	Power 3		power main 1	power main 2
water beci	AB0000000F60491D	/1D.49600F000000	SH1	Hobbyboards	apa rece (water house)	apa calda (water hot)
utility beci	1C0000000F99851D	/1D.85990F000000	SC4	2 red plates	power beci	gaz
power rack	F90000000FFEAB1D	/1D.ABFE0F000000	SE1	eds	power rack	unavailable

## gpio
Pi-face
					color code RJ45
					PLUG box	UTP
					white	brown
					brown	Brown-white
				4	OUT	dormitor heat					yellow	green
					green	Blue-white
				17	OUT	living subwoofer	18	OUT	bucatarie heat			red	blue
				27	OUT	gas heat					black	Green-white
				22	OUT	puffer heat (pump)	23	OUT	living heat			orange	orange
					24	OUT	birou			blue	Orange-white

					25	IN	usa fata

					1	IN	portita contact
				5	OUT	puffer boiler (pump)
				6	OUT	front lights	12	OUT	back lights
				13	OUT	puffer valve heat
				19		FREE	16	OUT	back valve
				26		wired unused 12v	20	OUT	back pump
					21	OUT	front main valve

## piface card
port IN
0	beci mare	PIR
1	bucatarie	PIR
2	living	PIR
3	beci mic	PIR
4	birou	PIR
5	scari beci	PIR
6	etaj hol	PIR
7	sonerie	CONTACT